September 9, 2025 Fire District #4 Meeting Notes

Present: Ken Little, Rick Whittlesey, Jim Robistow, Devin Hackett, Kevin Knapp, Wendy Horne Kevin Winch (by phone)

Ken called the meeting to order at 7PM

Rick made a motion to waive the reading aloud of the August minutes. Jim seconded and all were in favor. The motion passed.

Wendy Horne was at the meeting to discuss her situation at the Lake home on South St that she purchased. Her intention is to have 2 apartments there which will require 2 separate hook ons instead of just one. Ken explained the challenging connections that we don’t deal with every day. Everything is covered in the policy from 2017-2018. The wording was changed to include ADUs. Wendy feels she has not been treated fairly due to her situation being so well known. She believes there are others who have additional units in their homes that we don’t know about and it’s unfair. She doesn’t like the wording “connection fee” in the policy. Wendy will fill out an application to hold her spot.

Operator’s Report

Jim moved to waive the reading of the report. Devin seconded and all were in favor. Motion passed

- The monthly operations report was completed and submitted.

- The monthly WR-43 was completed and submitted.

- The monthly coliform sample was taken.

- The cyanotoxin monitoring program is ongoing. No detections so far.

- Filter 3 is up and running. Everything looks good so far. We tried to loosen some tubing fittings for the head loss gauge.  The one we really need to loosen is not moving.  We will have to come up with another plan to remove the fitting.

- The distribution flows have slowed since the heat wave. We are at normal usage for this time of year.  We did learn something from this water shortage.  In the future, we can raise the clear well off level and on set point to be proactive for the water usage.  This will at least provide more stored water and allow for a little more time to react to high usage.

- The soda ash was discontinued and the caustic was brought on line. We have been able to maintain a good pH level and are still dialing in the feed rate.  The new caustic day tank was marked with graduations for chemical tracking.

- The new SCADA computer was installed. We should be all set for Windows 11.

- The backwash average GPD was over the limit for the month. No real surprise, the filters were running longer. I do not suspect it will be an issue. I never heard back from Jamie Bates about amending the discharge limit.  I will reach out to another person in the Division.

A suggestion was made to ask Snider on Allen Point to flush the system if we provided the hose. Devin suggested asking water haulers but the committee didn’t think it would work. The fire dept. could also be asked to fill up a tanker by taking it off the pressure testing. Pressure testing for the entire system will be done on 9/11-9/12.

Our contract with SOS expired in September. THey will send another one for the plant operations for signing.

Keeler Bay Association : Jay Buermann’s letter asked for 175 gal per day more for a total of 2805. Rick made a motion to send a letter that acknowledges the request after talking to Jay. Kevin W will ask for an audit of what they are using and being billed for. Jim seconded and all were in favor. Motion passed.

Treasurer’s Report

| Checking Account | $184,637.28 |
| --- | --- |
| Money Market | $135,206.97 |
| Accounts Receivable | $30,429.99 |
| Total Old Business: | $350,272.24 |

- Otter Creek and MSK were asked for quotes for lead/copper and nothing has been heard

- High pressure hose needed for testing

- Not heard from 70A Wallys Point. They owe $4000. We can put a lien on the property, take it to small claims court or shut off the water.

- 72 Wallys Point has a curb stop problem but needs to go privately to fix it.

- Ken will work with Cindy to teach about the recordings, zoom and computer work.

- ANR is due Sept 30. Ken will show Cindy how to pay the bill.

- A possible rate increase is being discussed. Input is needed from SOS and the engineering firm. This is a continuing conversation.

- Annual Meeting discussion: PC members need 3 3 year terms. Kevin and Rick are 1 year. A vice chair can be voted on if needed as an interim assignment instead of a chair person.

- Who will get the phone calls? Rick made a motion to get a phone to share. Ken seconded and all were in favor.  Jim will look into plans.

- Devin and Kevin W want a written letter to Anne Tracy that she has 30 days after October 4 to see if she wants to forfeit the hook on or pay $1000 for another year or pay the full rate. Rick and Ken will write a letter to her.

Rick made a motion to adjourn. Ken seconded and all were in favor. Meeting adjourned at 8:30