SHFD#4 May 12,2026 Meeting notes

Present: Rick Whittelsey, Kevin Winch, Jim Robistow, Devin Hackett, Cindy Spence Rick called the meeting to order at 7PM

Rick made a motion to waive the reading aloud of the minutes. Devin seconded and all were in favor. Motion passed

There were no visitors.

Rick made a motion to approve the minutes as written. JIm seconded and all were in favor. Motion passed.

Financial

| Checking account | $216,660.78 |
| --- | --- |
| Money Market | $170,358.60 |
| Accounts Receivable | $34,524.37 |
| Payment Received | $2,480.39 |
| Total | $424,024.14 |

P&L is up $21,000 but the expenses are higher. Bond payment is $37657.77 due in May.

Rick spoke about beginning talks with Krystal Mossey or Fairfax about the possibility of taking over the accounts.

There was a question about why we were getting billed $79.50 for Quickbooks but we believe it is due to the way it works. Each company has a separate account on QB. Rick made a motion to accept the financial report. JIm seconded and all were in favor. Operations

- The monthly operations report was completed and submitted.

- The monthly WR-43 was completed and submitted.

- The monthly coliform sample was taken.

- The permanganate line that was leaking in 2 places was repaired.

- The chemical line replacement was completed.

- The computer has been acting up again. Periodically, it is off when we arrive in the morning. John Gardner will set us up with a new one.

- There were a couple days that the filter flows were very erratic. We could not find the cause but started monitoring which filters were running. Then the problem did not happen again.  It must have been an isolated incident.

- The PFAS sample was taken.

- The sinks in the lab are not draining properly. We drained and flushed through the p-trap but that did not seem to fix it. I think the clog is in the common drain line for the 3 sinks. Jim might be able to fix it with a snake.

- DBP Testing to be done this week

- Howard Snyder of Allen Pt will use the hose on the blow off at the committees’ direction to run the water through the system.

- Clear well was completed last week and the back wash was pumped today.

- Kevin has a new fan for the chemical room.

Rick made a motion to accept the Operations Report and JIm seconded. All in favor. Old Business:

- Lead/copper curb stop list and customer list was sent to Isabelle Small (MSK). She wants more information with maps

- Kevin and Rick are going to Nora at NW Planning Guidance to get money for Asset Management. Patrick (MSK) sent a proposal for $49,500.

- Customer list is ongoing.

- Does the rate still make sense? Check the suspension rate- should by $360.Will clarify at the June meeting and have it recorded at the town office.

- Watch out for people who might have water in their garage that is under the radar.

- Hayward Project- Rick needs to write a letter stating that they will cover expenses. Ask about time line.

- Furnace in the filter room is estimated at $9890. Could be done the end of June or July and needs an approval. Benour to do the work. A roofer is also needed. Jim made a motion to spend the money. Rick seconded and all were in favor. Motion passed.

Repairs

- Fixed curbstop on 97 Walley’s Point Rd. Called the owner to let us know when he wants the water turned on.

- 362 Rt 2 (parsonage) curbstop

- 8 WHipple Rd- broken after curbstop at the house

- Swanson 272 Rte 2- tapped the plastic pipe.

- Town Office- 1” Saddle copper line

- 33 Heron Ridge was turned on.

- Clever Design was turned on

- QUackenbush at 84 Wallys point will take care of the new line.

Consumer Report 2025 has been written. Need to look it over, ok it and SOS will send it out by July 1.

Rick made a motion to adjourn. Jim seconded. Meeting adjourned at 7:56